## Sheet1
[5 empty] | RUN# | [11 empty] | RUN#
Specimens/Date Extracted/Tech: | [6 empty] | WN Primers/Probe |  |  |  | Lot# |  |  |  | Exp. Date | [5 empty] | 1.) Fill in A2 of table below to autofill C#s
[7 empty] | SLE Primers/Probe |  |  |  | Lot# |  |  |  | Exp. Date | [5 empty] | 2.) If not a full Culex plate, Delete the first cell after the final C#
Manual Extraction Automated Extraction |  |  |  |  | Extractor |  | EEE Primers/Probe |  |  |  | Lot# |  |  |  | Exp. Date | [5 empty] | 3.) Add AVR#s if any after final C#
Master Mix Setup: Date: |  |  | Tech: ______
| Number of Specimens: |  | +6 Controls = |  |  |  | Negative Mosquito RNA |  |  |  | Lot# |  |  |  | Exp. Date
Gene Sets | # of Rxns. Formula |  |  | # Rxns.
WN/SLE/EEE | Specimens + 6 Controls + n | [5 empty] | Plate Setup: |  | Date: |  |  | Tech:
n is the number of extra reactions made to account for pipetting error: | [6 empty] | Plate/File Name:
n = 1 if number of specimens + controls = 1 to 14
n = 2 if number of specimens + controls ≥ 15 | [5 empty] | Detectors | Lane | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
n = 3 if number of specimens + controls ≥ 30 | [5 empty] | WN/SLE/EEE | A | 1: NTC; 12: WN Ext. ctrl | A | NTC | [10 empty] | WN Ext. ctrl
n = 5 if number of specimens + controls ≥ 50
[6 empty] | WN/SLE/EEE | B | 1: Neg Mos RNA; 12: WN RNA | B | Neg Mos RNA | [10 empty] | WN RNA
WN/SLE/EEE |  | Volume/tube | Total # | Total volume
Master Mix Components |  |  | Rxns. | (µl) |  | WN/SLE/EEE | C | [12 empty] | C
RNase-free H2O |  | 3.32
WN Primer / Probe Mix (10μM) |  | 1.18 |  |  |  | WN/SLE/EEE | D | [12 empty] | D
SLE Primer / Probe Mix (10μM) |  | 1.25
EEE Primer / Probe Mix (10μM) |  | 1.25 |  |  |  | WN/SLE/EEE | E | 12: SLE RNA | E | [11 empty] | SLE RNA
RT/Taq mix |  | 0.5
2X Reaction Mix |  | 12.5 |  |  |  | WN/SLE/EEE | F | [12 empty] | F
RNA |  | 5
Total Volume |  | 25 |  |  |  | WN/SLE/EEE | G | [12 empty] | G
Cycling Parameters: | [5 empty] | WN/SLE/EEE | H | 12: EEE RNA | H | [11 empty] | EEE RNA
1. 50 ˚C for 30 minutes
2. 95 ˚C for 2 minutes
3. 95 ˚C for 15 seconds
4. 63 ˚C for 1 minute 40 cycles | [6 empty] | Centrifuge Plate for 1minute @ 1500 rpm, room temp, Eppendorf 5810 R Plate Centrifuge SN 37208
-------------------Reagent Lot Numbers/Expiration Dates--------------------
| MagMax Extraction Kit Lot# |  | Exp. Date |  |  |  | Date & Time in Machine ________________ | 6: Tech ________
| Invitrogen Enzyme Kit Lot# |  | Exp. Date |  |  |  | Date & Time of Analysis ________________ | 6: Tech ________
| WN stock virus Lot# |  | Exp. Date |  |  |  | Turn off ABI 7500 machine
| WN RNA control Lot# |  | Exp. Date |  |  |  | Notes:
| SLE RNA control Lot# |  | Exp. Date
| EEE RNA control Lot# |  | Exp. Date